## Sheet1
Question No. | Date Received | REFERENCE |  |  | QUESTION | GOVERNMENT RESPONSE | Posted on Amend No.
|  | Page | Section | Para.
1 | 2026-04-22 |  |  |  | Does the attachement K need to be submitted with the price proposal and if so do we just include it after item 7 bid bond ?
2 | 2026-04-22 | 11 | 1 33 00 .05 20 | 1.2 d | Please confirm HVAC Testing, Adjusting, and Balancing submittals are required.
3 | 2026-04-22 |  |  |  | Please advise if the base generator power outage test will be required.
4 | 2026-04-22 |  |  |  | Please advise if the Superintendent can be also act as the Quality Control Manager
5 | 2026-04-22 |  |  |  | Please advise if the Superintendent can also act as the SHHO.